GENERAL SPECIFICATION (STANDARD RISK)

Air Conditioner Servicing, RCD, and Cold-room Maintenance

CONTRACT NO.: T2627.07

Table of Contents

1.	the specification	3

2.	definitions	3

3.	Contract management	4

4.	principal supplied information	4

5.	approvals and other law	5

6.	SITE	5

7.	quality Management system	7

8.	reports, meetings AND RECORD KEEPING	8

9.	Payment claims	9

10.	PROJECT TRUSTS AND RETENTION TRUSTS	10

11.	confidential information	10

12.	safety	11

13.	ENVIRONMENTAL PROTECTION	11

14.	ASBESTOS	11

15.	PERSONAL PROPERTY SECURITIES	12

16.	NON-CONFORMING BUILDING PRODUCTS	13

17.	Work Health and Safety Accreditation Scheme	13

18.	QUEENSLAND CODE	14

19.	Queensland Government QUEENSLAND CHARTER FOR LOCAL CONTENT	15

20.	practical completion	15

the specification

(Documents comprising this Specification) The Specification comprises the following documents:

Workplace Health and Safety Regulations 2011

Environmental Protection Act 2014

All Australian Electrical Safety Standard

other documents to the extent that they are incorporated (whether physically or by reference) into the Specification, namely:

relevant Australian Standards.

Principal’s Policies and Procedures.

Councils’ policies and procedure

These specifications.

(Precedence of documents comprising Specification) The documents comprising the Specification shall be taken to be mutually explanatory. If there is any ambiguity, inconsistency, conflict or discrepancy between any of the documents listed in clause 1.1 then the documents will take precedence in the order set out in clause 1.1, with the document listed at Error! Reference source not found. being the highest in the order.

(Documents incorporated by reference into Specification) The Contractor is deemed to have obtained copies of, read, understood, and allowed for compliance with the Specification (including any documents which are incorporated into it by reference only).

definitions

(Definitions) Capitalised terms used in the Specification have the meanings assigned to them in the General Conditions of Contract (if any) unless the context otherwise requires.  Terms which are separately defined in a specific clause have the meanings assigned in those clauses.  Otherwise, in the Specification:

Approvals means certificates, licences, accreditations, clearances, authorisations, consents, permits, approvals, determinations, and permissions from any Authority and any related fees and charges;

Authority means any Federal, State, or local government authority, administrative or judicial body or tribunal, department, commission, agency, government owned corporation, statutory body or instrumentality, or any other person having jurisdiction over the project;

Contractor Documents means those records, reports, designs, specifications, certificates, plans (including management plans), procedures, manuals and other documents, whether electronic documents or hard copy format, required by the Contract to be handed over to the Principal by the Contractor (and all information advice, designs, calculations and recommendations in those documents) (but does not include those that are incomplete at the time at which the Principal exercises its rights under subclause 39.4 of the General Conditions of Contract or the Contractor exercises its rights under subclause 39.9 of the General Conditions of Contract);

General Conditions of Contract means the General Conditions of Contract referred to in the formal instrument of agreement to which this General Specification is attached;

Good Industry Practice means:

the standard of skill, care, and diligence; and

the practices, methods, techniques, and acts,

- of a skilled, competent, and experienced contractor engaged in the business of carrying out Work similar to the WUC;

Policies and Procedures means the policies, procedures, codes, plans, guidelines, and the like provided or made available by or on behalf of the Principal to the Contractor from time to time, including those published on the Principal’s website;

Principal has the same meaning as given to the term “Principal” or “Purchaser” in the General Conditions of Contract (as the case may be):

Program has the same meaning as given to the term “construction program” or “program” in the General Conditions of Contract (as the case may be):

Specification means this document and all attachments to it which forms part of the Contract;

Contract management

    - (Contractor’s Superintendence) The Contractor shall provide all superintendence necessary for the proper fulfilment of the Contractor’s obligations under the Contract, including, unless the Superintendent directs otherwise, a competent site manager and site foreman approved by the Superintendent (with such approval not to be unreasonably withheld). Unless otherwise agreed by the Superintendent, the site manager shall be the Contractor’s representative under clause 22 of the General Conditions of Contract.

    - (Requests for review and information) The Superintendent will endeavor to provide a response and/or Direction in relation to a written request for information from the Contractor within 5 Business Days of receipt of such request.  The response time will be dependent on the complex nature and or quantity of clarifications per information request submitted. The Contractor is encouraged to make recommendations and or suggestions for the Superintendent’s consideration when submitting such requests.

    - (Direction by Principal or Superintendent) The Principal shall not be bound by any verbal advice given or information furnished by any Personnel of the Principal or Superintendent in respect of the Contract. The Contractor must not accept instructions from any person other than the Superintendent and/or the Superintendent’s Representative. The Contractor acknowledges and agrees that its obligations and liabilities in connection with the Contract are not affected by any:

      - receipt or review of, or comment or Direction on, a document submitted by the Contractor;

      - failure by the Principal or Superintendent to review, comment on, or give a Direction on any document submitted by the Contractor; or

      - failure by the Superintendent to give its approval pursuant to clause 8.3.

- 'Before relying on the receipt, review, or comment by the Superintendent, or Principal, or complying with a Direction in relation to a document, the Contractor must notify the Superintendent in writing, if doing so will affect a warranty, representation or obligation of the Contractor under the Contract.

  - principal supplied information

(Definitions) In this clause, Principal Supplied Information means any information relating to the Contract which either:

does not form part of the Contract but which is or has been provided or made available by or on behalf of the Principal to the Contractor; or

does form part of the Contract, but which is expressly identified as Principal Supplied Information or otherwise as information on which the Contractor should not or must not rely,

- and includes information in any form and information which is made available before or after the Date Of Acceptance Of Tender.

(No warranty or representation by Principal) The Principal gives no warranty and makes no representation that the Principal Supplied Information is accurate, adequate, or complete.

(No reliance) The Contractor:

acknowledges and agrees that the Contractor has not relied; and

must not rely on the Principal Supplied Information,

- unless and until the Contractor has independently verified the adequacy, accuracy, and completeness of that information.

approvals and other law

(Approvals obtained by the Principal) The Principal has obtained the following Approvals:

Information Privacy Act 2009

Work Health and Safety Act 2011

- The Contractor must comply with those Approvals to the extent that they are applicable to WUC.

(Identifying, obtaining and maintaining Approvals) The Contractor must identify and notify the Principal of all Approvals which are necessary for the proper performance of WUC (other than Approvals which the Principal has advised the Contractor it has already obtained). The Contractor must obtain and maintain all such Approvals until the end of the last Defects Liability Period to expire. The cost of obtaining and maintaining all such Approvals shall be borne by the Contractor.

(Compliance) The Contractor must ensure that its Personnel comply with all Approvals and other laws which are in anyway applicable to WUC, including, unless the Contract expressly provides otherwise, by paying all fees, royalties, levies, charges, costs, expenses, taxes, or duties.

(Timing) The Contractor is deemed to have allowed a reasonable time in its Program for all required Approvals to be applied for and obtained.

(No fetter) Nothing in the Contract shall be taken to fetter the power, rights, or authority of the Principal as an Authority under the Local Government Act 2009 (Qld), the Local Government Regulation 2012 (Qld), or any other law.

SITE

(Location) The Site is identified in in below excel sheet-

- >>Air Conditioner Details & Servicing Schedule

- >>RCD Details & Testing Schedule

(Requirements of possession) The Contractor’s attention is drawn to clause 24 of the General Conditions of Contract. The following documentation and information must be provided to the Superintendent as a requirement of the Principal giving access to or possession of the Site and within the earlier of:

20 Business Days after the Date Of Acceptance Of Tender; and

5 Business Days prior to any scheduled pre-start meeting.

(Site specific induction) The Contractor must ensure that:

each of the Contractor’s Personnel working on Site receives a site-specific induction;

every visitor to the Site either receives a site-specific induction or is accompanied at all times at the Site by someone who has received a site-specific induction for that Site (or, where the Site comprises more than one location, the particular part of the Site).

(Site specific requirements) The Contractor must comply with the following site requirements, and any reasonable requirements of the Principal in relation to the Contractor’s access to or conduct on the Site:

Sewerage and water treatment plants have specific rules of conduct, site restrictions, rules about entry to and exit from site and use of facilities.

(Locations within Site) The Contractor must ensure that all plants, equipment, materials, temporary workshops, stores, and offices are kept within the confines of the Site at locations approved by the Superintendent.

(Unauthorised entry to site) The Contractor must use all reasonable endeavours to prevent any unauthorised entry to the Site.

(Signage) No signage is to be placed on the Site or the perimeter (other than safety signage) without the prior written consent of the Superintendent.

(Deliveries) The Contractor is responsible for delivery and unloading of all goods, equipment and other materials used in WUC (including any such materials used by subcontractors), providing space for the storage of the materials, handling the materials, and checking that the materials comply with the requirements of the Contract.

(Interference) The Contractor must use all reasonable endeavours to minimise interference with existing amenities, whether natural or man-made, and the amount of noise caused by the carrying out of WUC.

(Public utilities and other assets) Without limiting the Contractor’s obligations under clause 15 of the General Conditions of Contract, the Contractor must use all reasonable endeavours to identify, locate, and prevent damage to overhead public utility lines, surface drainage works, underground pipes, conduits, and cables in the vicinity of The Works. If the Contractor or any of its Personnel damage any such assets, then:

the Contractor must immediately report such damage to the owner of the asset and the Superintendent; and

comply with the requirements of the owner of the asset (including by paying for any required repairs or renewals).

- The Contractor must notify the Superintendent immediately if the Contractor considers that it is necessary to alter the location or level of any existing assets to conform with the requirements of the Contract. If directed to do so by the Superintendent, the Contractor must arrange for the relocation Work to be carried out by the appropriate Authority.

quality Management system

(Quality management system) The Contractor must, prior to commencing WUC at the Site, implement a quality management system which accords with the requirements of ISO 9001 or with any alternative standard approved by the Superintendent (acting reasonably). The Contractor must comply with, and ensure that all of the Contractor’s Personnel comply with the system. The Contractor shall appoint a suitably qualified quality management representative, who shall have such authority to effectively manage and control the implemented quality system.

(Quality plan) The Contractor’s quality management system must include a project quality plan which contains at least the following information:

a project organisation chart clearly showing the lines of authority, responsibility, and communication that will be in effect;

details of the qualifications and experience of all project management and supervision staff;

a lot plan;

details of project specific procedures, including those related to the following to the extent that they are applicable to WUC:

all shop drawing formation and coordination;

management of all services subcontractor/trades;

management of all services/operational commissioning;

applicable inspection and test plans;

a register of all proposed quality records; and

(Inspection and test plan) The Contractor must, as part of the Contractor’s quality management system, prepare and obtain the Superintendent’s Direction regarding an inspection and test plan. The inspection and test plant must, at a minimum, detail:

the items of Work to be inspected or tested;

the party who will carry out the inspection or test;

the stages at which Work is to be inspected and tested or the frequency of inspections and tests;

Work which shall not be covered up or made inaccessible without the prior approval of the Superintendent;

hold points beyond which Work cannot proceed without approval of the Superintendent;

relevant standards and criteria; and

the records to be maintained by the Contractor.

(Reporting) The Contractor must provide the Superintendent with all documents and information:

reasonably requested to support or evidence the Contractor’s quality management system;

which are produced by the Contractor in compliance with the quality management system.

(Inspections) The Principal and the Superintendent may carry out inspections of the Site at any time. During inspections, the Contractor shall provide the Principal and the Superintendent with all documents, access and assistance reasonably requested by either. The Contractor shall provide a sufficient and safe access for all inspections at the Site. Unless otherwise specified, the Contractor must give the Superintendent no less than 2 Business Days’ notice of its intention to commence each stage of the following Work:

Principal will randomly inspect the work with appointed contractor anytime.

- If the Contractor does not provide the required notification for an inspection, particularly if an urgent after-hours inspection is required to ensure WUC is not delayed, the Superintendent may deduct the cost of the inspection as a Required Deduction pursuant to clause 37.2 of the General Conditions of Contract.

reports, meetings AND RECORD KEEPING

(Progress reports) The Contractor must:

keep the Principal fully informed of the progress and performance of WUC;

at the times stated in the Contract and when otherwise reasonably required by the Principal, meet and discuss the performance of the Contractor and/or any other matter concerning the Principal in connection with the Contract; and

comply with any recommendations or directions given by the Principal in relation to the performance of the Contractor’s obligations under the Contract (but such compliance will not release or discharge the Contractor from any liability or obligation under the Contract).

(Meetings - General) The Contractor must, at the times reasonably required by the Principal, meet and discuss the performance of the Contractor and/or any other matter concerning the Principal in connection with the Contract. The Contractor shall provide a sufficient and safe access for all inspections and meetings at the Site.

(Record of compliance) The Contractor must:

create and maintain complete and accurate records, reports and other documents demonstrating the Contractor’s compliance with the Contract, including:

All air conditioning model, serial number, and test report need to be record in the attached spreadsheet (Air Conditioner Details & Servicing Schedule and RCD Details & Testing Schedule).

All RCD model, serial number, and test report need to be record in the attached spreadsheet (Air Conditioner Details & Servicing Schedule and RCD Details & Testing Schedule).

All cold room models, serial number, and test report need to be record in the attached spreadsheet (Air Conditioner Details & Servicing Schedule and RCD Details & Testing Schedule).

- and any other records, reports or documents reasonably required by the Principal in connection with the Contract; and

create any document required to be prepared under any management plan prepared under the Contract.

(Photographic evidence) The Contractor must provide to the Superintendent a progressive photographic record of the progress of WUC at the times required by the Superintendent. Photographs shall be in high-definition digital format and shall be dated and labelled to describe the photograph's content.

Payment claims

(Cash flow projection) Within 3 days after submitting at tax invoice for payment, the Contractor must provide an updated cash flow projection schedule for the balance of WUC remaining at the end of each month, including revised cash flow projection based on approved progress claims and total cost to date.

(Particular items in Price Schedule) Further to clause 3 of the General Conditions of Contract where an item is identified in the Price Schedule as:

a prime cost item, then the relevant sum(s) included in the Price Schedule shall in themselves not be payable, but where that item of Work is to be supplied or carried out:

the Contractor must, if directed to do so by the Superintendent:

use its best endeavours to obtain 3 quotes for the prime cost item from suppliers which the Contractor considers are capable of carrying out the relevant Work and that are reasonably available to do so; and

provide a complete written copy of each quote received to the Superintendent;

the Superintendent may (but shall not be obliged to) within 5 Business Days after receiving the quotation(s) direct the Contractor as to which supplier to engage and the Contractor must comply with that Direction. If the Superintendent does not give a Direction within this time, then the Contractor may engage any one of the suppliers that provided a quotation;

the Contractor shall be entitled to payment of the actual direct cost paid by the Contractor to the supplier for the supply of that item (excluding any damages payable to the supplier or vice versa) and without any payment for the Contractor’s profit and overheads; and

the costs for labour, installation, and for all other costs required to incorporate the goods into The Works shall be deemed to have been included in the Price Schedule generally;

a provisional quantity, provisional item, if ordered, as directed, optional or similar term (other than provisional sum), then where that item of Work is supplied or carried out in accordance with a Direction of the Superintendent:

the relevant sum(s) included in the Price Schedule shall in themselves not be payable;

where there is a rate for the item in the Price Schedule, the Contractor shall be entitled to payment for the item at the rate provided in the Price Schedule for the measured quantity of the item so supplied or carried out; or

where there is a lump sum for the item in the Price Schedule, the Contractor shall be entitled to payment of that lump sum,

- A Direction to carry out or supply such an item, or the absence of a direction to carry out or supply such an item, shall be deemed to be within the general scope of the Contract.

PROJECT TRUSTS AND RETENTION TRUSTS

(Definitions) Terms used in this clause 8 which are not separately defined in the Contract have the same meaning as is attributed to them in Chapter 2 of the Security Of Payment Legislation.

(Compliance) Nothing in this clause shall be taken to limit the Contractor’s obligations under Chapter 2 of the Security Of Payment Legislation. The Contractor must provide all information and documentation that the Superintendent reasonably directs in connection with the Contractor’s compliance with this clause.

(Project trust account) The Contractor must:

open and maintain a Project Trust Account; and

give to the Superintendent and Principal all notices which the Security Of Payment Legislation requires the Contractor to give in connection with a Project Trust.

(Retention trust account) The Contractor must:

open and maintain a Retention Trust Account; and

give to the Superintendent and Principal all notices which the Security Of Payment Legislation requires the Contractor to give in connection with a Retention Trust.

(Variation to contract) If at the Date Of Acceptance Of Tender:

the Contractor is not required to open and maintain a Project Trust Account but subsequently becomes required to do so under the Security Of Payment Legislation; or

the Contractor is not required to open and maintain a Retention Trust Account but subsequently becomes required to do so under the Security Of Payment Legislation,

- the Contractor must give the Superintendent and Principal written notice of that changed requirement within 5 Business Days of the date on which the Contractor becomes aware, or ought to have become aware of the changed requirement and must comply with clauses 8.4 and or 8.5 as the case may be.

(Substantial breach) In addition to other acts or omissions which constitute a Substantial Breach of the Contract, Substantial Breaches include the Contractor failing to

establish a project trust account as required by the security of payment legislation, in breach of clause 8.3;

establish a retention trust account as required by the security of payment legislation, in breach of clause 8.4;;

comply with an obligation of the Contractor set out in Part 2, Divisions 4 and 5 of Chapter 2 of the security of payment legislation;

comply with an obligation of the Contractor set out in Part 3, Divisions 4 and 5 of Chapter 2 of the security of payment legislation.

confidential information

(Specific confidential information) Without limiting subclause 8.5 of the General Conditions of Contract, the Contractor must, and must ensure that its Personnel, keep confidential the following documents and any other information obtained in the course of performing the Contract which is, of its nature, confidential:

the Contract;

Site maps and other machinery information.

safety

(Relationship to General Conditions of Contract) The Contractor’s attention is drawn to clause 12A of the General Conditions of Contract.  Nothing in clause 18 shall be taken to limit or exclude any obligation or liability of the Contractor under the General Conditions of Contract or at law in relation to work, health and safety.

(Electrical Safety) The Contractor must:

comply with all provisions of the Electrical Safety Act 2002 (Qld) and all related Legislative Requirements; and

ensure that:

all electrical work conducted, including work performed by subcontractors, is fully documented and recorded on a 'Certificate of Electrical Safety';

all required 'AS3000 Test Results' are documented and recorded by the Contractor; and

the Contractor provides:

certificates of testing and safety pursuant to the Electrical Safety Regulation 2013 (Qld) for all electrical work carried out as part of WUC (whether by the Contractor or by subcontractors); and

records of all test results in accordance with AS3000:2007 for all electrical installation works on property owned by the Principal.

ENVIRONMENTAL PROTECTION

(Environmental protection) The Contractor must, and must ensure that its Personnel, perform the Contractor’s obligations in accordance with:

best practice environmental management (as that term is defined in Section 21 of the Environmental Protection Act 1994 (Qld));

the requirements of all other Legislative Requirements relating to the protection of the Environment; and

the Principal’s Policies and Procedures relating to the protection of the Environment.

- The Contractor must provide a copy of its environmental risk assessments and relevant control strategies for WUC for the Superintendent’s review prior as a requirement of possession of the Site and prior to any pre-start meeting. The level of detail in the risk assessments shall be adequate to provide the Superintendent with a clear understanding of the required Work.

ASBESTOS

(General) The removal, transportation, and disposal of asbestos products must be undertaken in accordance with:

all Legislative Requirements;

relevant standards and codes of practice including “How to Safely Remove Asbestos 2021” as amended or replaced from time to time; and

to the extent not inconsistent with paragraphs (a) and (b), any management plan prepared under the Contract.

(Work to be done by certified removalist) Such Work must be undertaken by a certified asbestos removalist.

(Monitoring) The Contractor must arrange for daily air monitoring and reporting during the asbestos removal process by an independent air monitoring consultant/hygienist.

(Certification) At the completion of the asbestos removal process, the Contractor must provide certification that all asbestos has been safely removed from the Site and disposed of in accordance with this clause.

PERSONAL PROPERTY SECURITIES

(Interpretation) In this clause, ‘PPS Act’ means the Personal Property Securities Act 2009 (Cth). Terms used in this clause which are defined in the PPS Act which are not separately defined in the Contract have the meaning attributed to them in the PPS Act.

(Disclosure) If this Contract contains a security interest, then each party agrees to the purposes of section 275(6) of the PPS Act that it will not disclose information of the type referred to in section 275(1) of the PPS Act, where a request is made under section 275(1) of the PPS Act in relation to this Contract or any part of it, except in circumstances where the party is compelled by law (other than section 275(1) of the PPS Act) to make that disclosure.

(Contractor’s obligations) If the Principal determines that any clause of this Contract, or a transaction contemplated by this Contract or in connection with the performance of WUC, constitutes, or is likely to give rise to a security interest in respect of which the Principal is the security holder, then the Contractor:

the Contractor must, within the time required by the Principal, provide all assistance and cooperation requested by the Principal that the Principal determines is reasonably required to;

register and maintain the registration of its security interest on the personal property securities register within any applicable time limits relevant to the effectiveness of the security interest;

ensure that the Principal's security interest is enforceable against third parties, perfected, or otherwise effective;

ensure that the security interest has the appropriate priority required by the Principal (including where applicable, as a purchase money security interest);

ensure that any security interest granted temporary perfection under the PPS Act is perfected by registration or other appropriate means prior to any applicable expiry of that temporary perfection;

enable the Principal to register financing statements or financing change statements under the PPS Act, with respect to any such security interest;

waives the right to receive notice of a verification statement in relation to the registration of that security interest;

shall not register or permit to be registered any other security interest in respect of the personal property that comprises the collateral in respect of that security interest, other than one that has been consented to or granted by the Principal;

shall not cause or allow any of the Contractor's personal property to become an accession to the Principal's personal property or cause or allow the Principal's personal property to become an accession to the Contractor's personal property without the prior consent of the Principal; and

must immediately notify the Principal if any other person claims or attempts to enforce a security interest:

in the Principal's personal property; or

in the Contractor's personal property to the extent that that purported enforcement affects or has the potential to affect the Contractor's ability to carry

NON-CONFORMING BUILDING PRODUCTS

(Definitions) In this clause, the terms ‘person in the chain of responsibility’, ‘building product’, ‘Minister’, ‘non-conforming building product’ and ‘required information’ each have the respective meanings given to those terms in the Queensland Building and Construction Commission Act 1991 (Qld) (‘QBCC Act’).

(General) The Contractor:

acknowledges that, to the extent that the Contractor is a person in the chain of responsibility, it has obligations under Part 6AA of the QBCC Act in relation to non-conforming building products;

warrants and represents that no building products incorporated into The Works are non-conforming building products, or the subject of a warning statement issued by the Minister;

must ensure that it, and its subcontractors, suppliers, and consultants provide all required information for a building product incorporated into The Works to the Principal upon installation of the building product into The Works; and

must provide all required information and any other information relevant to a building product to the Principal within the timeframes requested by the Principal.

(Failure to comply) If the Contractor installs, or incorporates into The Works, a building product without the required information, the Principal will be entitled to do either of the following in its sole and absolute discretion:

request the required information from the Contractor, in which case the Contractor will provide the required information as soon as reasonably practicable, or

direct the Contractor to remove the building product from The Works and replace with a building product that is not non-conforming pursuant to subclause 29.3 of the General Conditions of Contract or clause 35 of the General Conditions of Contract.

(Requirement of Practical Completion) The Contractor shall, as a requirement of practical completion, provide to the Principal a signed statutory declaration confirming that all required information has been obtained and provided to the Principal, and that no non-conforming building products have been installed or incorporated into The Works.

(Indemnity) Without limiting clause 11A.6 of the General Conditions of Contract, the Contractor shall indemnify and keep indemnified the Principal against any Claim which may be brought against the Principal, and any cost, expense, fine, penalty, damages or loss which may be imposed upon, suffered, or incurred by the Principal to the extent caused or contributed to any breach of the Contractor’s obligations under this clause 15, or by any failure of the Contractor to comply with its obligations under the QBCC Act in relation to building products.

Work Health and Safety Accreditation Scheme

(Accreditation) The Contractor must maintain accreditation under the Australian Government Work Health and Safety Accreditation Scheme (‘the Scheme’), established by the Building and Construction Industry (Improving Productivity) Act 2016 (Cth), while building work (as defined in section 6 of the Act) is carried out.

(Compliance) The Contractor must comply with all conditions of the Scheme accreditation and the National Construction Code performance requirements in relation to building materials.

QUEENSLAND CODE

(The Queensland Code) If applicable, in addition to the terms defined in this document, terms used in this clause 17 have the same meaning as is attributed to them in the Queensland Government’s Queensland Code of Practice for the Building and Construction Industry (the ‘Queensland Code’).

(Primary Obligations) The Contractor must:

comply with, and meet any obligations imposed by, the Queensland Code;

notify the Australian Building and Construction Commission (‘ABCC’) (or nominee) and the Principal, of any alleged breaches of the Queensland Code and of voluntary remedial action taken within 24 hours of becoming aware of the alleged breach;

where the Contractor is authorised to engage a subcontractor and it does so, ensure that any secondary contract imposes on the subcontractor equivalent obligations to those in this clause 17, including that the subcontractor shall comply with, and meet any obligations imposed by, the Queensland Code; and

not appoint or engage another party in relation to WUC, where that appointment or engagement would breach a sanction imposed on the other party in relation to the Queensland Code.

(Information) The Contractor must maintain adequate records of compliance with the Queensland Code by it, its subcontractors, and related entities.

(Access) The Contractor must allow, and take reasonable steps to facilitate, Queensland Government authorised personnel (including personnel of the ABCC) to:

enter and have access to sites and premises controlled by the Contractor, including any Site at which WUC is being carried out;

inspect any work, material, machinery, appliance, article, or facility;

access information and documents;

inspect and copy any records relevant to WUC;

have access to personnel; and

interview any person,

- as is necessary for the authorised personnel to monitor and investigate compliance with the Queensland Code by the Contractor, its subcontractors, and related entities.

(Production of documents) The Contractor, and its related entities, shall agree to, and comply with, a request from Queensland Government authorised personnel (including personnel of the ABCC) for the production of specified documents by a certain date, whether in person, by post, or electronic means.

(Sanctions) The Contractor warrants that at the time of entering into this Contract, neither it, nor any of its related entities, are subject to a sanction in connection with the Queensland Code that would have precluded it from tendering for work to which the Queensland Code applies. If the Contractor does not comply with, or fails to meet any obligation imposed by the Queensland Code, a sanction may be imposed against it in connection with the Queensland Code. Where a sanction is imposed:

it is without prejudice to any rights that would otherwise accrue to the parties;

the State of Queensland (through its agencies, Ministers and the ABCC) is entitled to:

record and disclose details of non-compliance with the Queensland Code and the sanction; and

take them into account in the evaluation of future expressions of interest or tender responses that may be lodged by the Contractor, or its related entities, in respect of work to which the Queensland Code applies.

(Cost) The cost of ensuring the Contractor’s compliance with the Queensland Code shall be borne by the Contractor. The Contractor is not entitled to make a claim for reimbursement or an extension of time from the Principal or the State of Queensland for such costs.

(No relief) Compliance with the Queensland Code does not relieve the Contractor from responsibility to perform WUC and any other obligation under the Contract, or from liability for any defect in The Works, or from any other legal liability, whether or not arising from its compliance with the Queensland Code.

(Change) Where a change in the Contract or WUC is proposed, and that change would, or would be likely to, affect compliance with the Queensland Code, the Contractor must immediately notify the Principal (or nominee) of the change, or likely change and specify:

the circumstances of the proposed change;

the extent to which compliance with the Queensland Code will, or is likely to be, affected by the change; and

what steps the Contractor proposes to take to mitigate any adverse impact of the change,

- and the Principal will direct the Contractor as to the course it must adopt within 5 Business Days of receiving notice.

Queensland Government QUEENSLAND CHARTER FOR LOCAL CONTENT

(Definitions) Terms used in this clause 18 which are not separately defined in this Contract have the same meaning as is attributed to them in the Charter for Local Content.

(Contractor’s obligation) The Contractor must, and must ensure its subcontractors, in carrying out WUC:

comply with the principles of the Charter for Local Content and any related requirements under the Contract;

comply with any Statement of Intent or equivalent local content statement under the Contract;

practical completion

- (Requirements of achieving practical completion) The Contractor acknowledges that the Contract may elsewhere include additional obligations which must be satisfied as a requirement of Practical Completion.  In addition to any such obligations, the Contract must, as a requirement of Practical Completion:

satisfy all requirements of the Contract in relation to commissioning and operator training;

provide to the Superintendent one (1) bound and one (1) PDF copy of an end-of-job report which shall contain the following as a minimum:

completed warranties for all fittings and fixtures including major supply information;

electrical inspection certificates;