Part 5: Scope

Air Conditioner Servicing, RCD, and Cold-room Maintenance

CONTRACT NO.: T2627.07

  - interpretation and definitions

    - (Documents comprising this Scope) The Scope comprises the following information:

      - Technical specification;

      - General Specification

      - Banana Shire Council Map

      - BSC_AC_Maint_Records-UPDATED2026

      - BSC_RCD_Testing_Records-UPDATED2026

    - (Precedence) If there is any ambiguity, inconsistency, conflict or discrepancy between any of the documents listed in clause 1.1, then the document which contains the higher standard or more onerous obligation will prevail.  If that does not resolve the ambiguity, inconsistency, conflict or discrepancy then the documents will take precedence in the order set out in clause 1.1 with the document listed at 1.1(a) being the highest in the order.

    - (Definitions) In this Scope:

      - Scope of services means what kinds of jobs they need to perform;

Scope of works means what kinds of schedule checking they need to performa and record;

approvals and other law

(Identifying, obtaining and maintaining Approvals) The Supplier must identify and notify the Principal of all Approvals which are necessary for the proper performance of the Services (other than Approvals which the Principal has advised the Supplier it has already obtained). The Supplier must obtain and maintain all such Approvals until all of the Supplier’s other obligations under the Contract are complete. The cost of obtaining and maintaining all such Approvals shall be borne by the Supplier.

(Compliance) The Supplier must and must ensure that its Personnel comply with all Approvals and other law which are in anyway applicable to the Services, including, unless the Contract expressly provides otherwise, by paying all fees, royalties, levies, charges, costs, expenses, taxes or duties.

(Obtaining or granting of Approvals by Principal) The Principal gives no warranty and makes no representation that:

it will be able to obtain, or obtain within any particular time; or

where the Principal is the relevant Authority, that it will grant,

- any Approval required for the Supplier to perform the Services.

(No fetter) Nothing in the Contract shall be taken to fetter the power, rights or authority of the Principal as the sublessor under the Land Act 1994 (Qld) or an Authority under the Local Government Act 2009 (Qld), the Local Government Regulation 2012 (Qld) or any other law.

(Provision of the Services) The Supplier must, and warrants and represents that it will, perform the Services so that the Site, at all times during the Term, complies with all Approvals and other applicable law.

(Obligation to report breach) The Supplier must notify the Principal immediately if it becomes aware of or reasonably suspects in the course of carrying out its obligations under the Contract, that the Supplier has breached an obligation under clauses 2.1, 2.2 or 2.3.  Unless otherwise directed by the Principal, the Supplier must take immediate steps to remedy such a breach at its expense.

  - service levelS

    - In this clause

      - Review Period means the period stated in clause 3.9 below in which the performance of the Supplier against a Service Level is to be reviewed;

      - Service Levels means the service level(s) or key performance indicator(s) (if any) described as such in clause 3.9 below.

    - (Guarantee) The Supplier must, and guarantees that it will, in providing the Services and carrying out its other obligations under the Contract, achieve or exceed all Service Levels in every Review Period.

(Measuring performance) The Principal will review the performance of the Supplier against the Service Levels at the times in clause 3.9 below, and otherwise on the giving of reasonable notice.  The Principal may direct the Supplier to provide a written explanation for its performance against any Service Level.

(Performance liquidated damages) If the Supplier has failed to meet any Service Level, the Supplier shall be indebted to the Principal for performance liquidated damages calculated in accordance with clause 3.9.

(Recovery of liquidated damages) The Principal may deduct such performance liquidated damages from moneys otherwise owing to the Supplier to recover the performance liquidated damages. The Parties agree that the performance liquidated damages are an agreed genuine pre-estimate of the Principal’s loss if the Supplier breaches its obligations under the Contract.

(General damages) If, for any reason, the Principal's entitlement to performance liquidated damages is found to be void, voidable or otherwise unenforceable (in whole or part), or the Principal is otherwise unable to recover the whole of the performance liquidated damages from the Supplier, the Supplier shall be liable to the Principal for any loss, damage, cost or expense suffered or incurred by the Principal as a result of the Supplier failing to achieve the Service Levels.

    - (Review of Service Levels) The representatives of the Parties may review the Service Levels from time to time and amend them in any way including by adding additional Service Levels, removing or amending Service Levels, amending the method of measuring performance or the consequence of achieving or failing to achieve a Service Level.

    - (Substantial breach) Failing to achieve or exceed:

      - the same Service Level for three consecutive Review Periods, even though the Supplier may have achieved or exceeded some or all of the other Service Levels for those same Review Periods; or

      - any two Service Levels for two consecutive Review Periods,

- shall constitute a substantial breach of the Contract.

  - procurement services

Where the Services require the Supplier to manage, conduct or otherwise participate in a Procurement Process for the engagement of a contractor or other supplier by the Principal, then the Supplier must, and must ensure that its Personnel, to the extent that it is within the control of the Supplier or its Personnel ensure that the procurement process is conducted consistently with:

      - the Principal’s procurement policy;

      - the Local Government Act 2009 (Qld) and the Local Government Regulation 2012 (Qld);

      - the requirements of the request for tender or request for quotation documentation issued to tenderers;

      - any probity plan or evaluation plan implemented for the Procurement Process;

      - principles of probity; and

      - Good Industry Practice,

- with a view to ensuring that the selected contractor or supplier is the most advantageous to the Principal having regard to the sound contracting principles in section 104 of the Local Government Act 2009 (Qld).

Principal Supplied Information and Other Investigations

(Definitions) In this clause “Principal Supplied Information” means any information relating to the Contract which does not form part of the Contract but which is or has been provided or made available by or on behalf of the Principal to the Supplier in any form, whether such information is made available before or after the date of the Contract.

(Acknowledgement and agreement by Supplier) The Supplier acknowledges and agrees that:

the Principal gives no warranty and makes no representation in respect of this Contract. Without limiting this, the Principal gives no warranty and makes no representation:

that the Principal Supplied Information is accurate, adequate or complete; and

as to the physical condition, suitability or other characteristics of the Site;

the Supplier has not relied and will not rely on the Principal Supplied Information unless and until the Supplier has independently verified the adequacy, accuracy and completeness of that information;

the Supplier:

has carefully, thoroughly and critically reviewed, examined, investigated, inspected and checked the Principal Supplied Information and the Site  and undertaken all other necessary enquiries and investigations to satisfy itself of the suitability of the Site to enable the Supplier to comply with its obligations under this Contract and of any other logistical considerations, risks, contingencies and other circumstances which could have an effect on the cost of carrying out and completing Services or compliance with the Supplier's other obligations under the Contract;

the Supplier has made its own interpretations, deductions and conclusions from such enquiries and investigations and accepts full responsibility for those interpretations, deductions and conclusions; and

the Supplier, having undertaken those enquiries and investigations, accepts the risk of any inadequacy, inefficiency, deficiency or fault in the Site and that it can and will carry out and complete the Services in accordance with the Contract and comply with its other obligations under the Contract for the Price (as adjusted pursuant to the Contract); and

(No liability) The Principal shall not be liable upon any Claim by the Supplier in connection with the Principal Supplied Information or the physical condition, suitability or other characteristics of the Site.

  - SUPPLIER’S personNel

(Minimum Personnel levels) The Supplier must always ensure that during the Term, the minimum number of each type of Personnel identified in the Contract perform the roles identified in the Contract for the periods indicated in the Contract (Minimum Personnel Levels). The Minimum Personnel Levels must be maintained notwithstanding any planned or unplanned absences, personal breaks, attendance at training or performance of other duties by any Personnel. Provision of the Minimum Personnel Levels does not relieve the Supplier of any obligation under the Contract. If further Personnel are required in addition to the Minimum Personnel Levels for the Supplier to comply with its obligations under the Contract, then the Supplier must provide such additional Personnel at its expense.

(Further requirements on Personnel) In addition to any other requirement in the Contract, the Supplier must ensure that its Personnel:

are familiar with and properly trained for their allocated role;

perform their allocated role competently and safely and where the role involves the operation of plant or equipment, in accordance with all manufacturer’s recommendations.

do not either directly or indirectly cause any unreasonable nuisance or interference to the owners, tenants or occupiers of properties on or adjacent to the places where the Services are to be carried out (including Personnel of the Principal) or to the public generally;

are not affected by alcohol or drugs whilst performing any part of the Supplier’s obligations under the Contract (other than prescription medication which does not affect the ability of the person to perform the relevant obligations under the Contract).

(Police checks) If the Principal directs the Supplier to obtain police checks then the Supplier must not permit any Personnel to perform any part of the Services or to have access to any of the Site unless and until 5 Business Days after the Supplier has given the Principal a written copy of a criminal history check produced by the Queensland Police Service for that person. If the criminal history check contains any entries, the Principal may, in its absolute discretion, notify the Supplier that the person is not permitted to perform the Services or may otherwise place conditions upon that person’s role in performing the Services.

  - Management plan

(Preparation) The Supplier must, prior to commencing the Services, prepare and obtain the Principal’s approval of a management plan or plans which addresses the following matters:

Scheduling of servicing throughout the shire

- If the Principal notifies the Supplier that all or part of the plan(s) is not suitable, the Supplier must at its cost amend and resubmit the relevant plan(s).

(Updating) The management plan must be updated as often as required to:

ensure that the Supplier continues to comply with the warranties and representations as to Supplier Documents given in the Contract;

address any deficiencies in the systems described in the plan of which the Supplier becomes aware; and

take into account any Variations or improvements in the Services.

- A copy of a revised management plan must be submitted to the Principal for approval prior to implementation of it.

(Compliance) The Supplier must comply with the management plan at all times whilst performing the Services.  Such compliance will not release or discharge the Supplier from any liability or obligation under the Contract.

  - Meetings

(Meetings) The Supplier must, at the following times:

Meeting will be held by request.

- and when otherwise reasonably required by the Principal, meet and in good faith discuss the performance of the Supplier and/or any other matter concerning the Principal in connection with the Contract including:

the Supplier’s performance of its obligations under this Contract, including the Service Level(s) (if any) identified in the Contract;

to promote safer and quieter work practices; and

improvements to efficiency of the Supplier’s obligations under the Contract.

(Recommendations or directions) The Supplier shall comply with any recommendations or directions given by the Principal in relation to the performance of the Supplier’s obligations under the Contract. Such compliance will not release or discharge the Supplier from any liability or obligation under the Contract.

  - service RECORDS and auditing

(Creation) The Supplier must:

create and maintain the records, reports and other documents required by the Contract and any other records, reports or documents reasonably required by the Principal in connection with the Contract; and

create any document required to be prepared under the Supplier’s management plan prepared under the Contract,

- (‘Service Records’).

(Audit) The Principal may at any time during the Term, on the giving of reasonable notice, audit the Supplier’s compliance with the Contract or any obligation under it.  The Supplier shall facilitate the audit by:

allowing the auditors to undertake any inspections or tests;

providing such assistance, information and access to the Site, systems and equipment and other cooperation;

providing to the auditor with copies of, facilitating the copying by the auditor of, the Services Records and all other records, information and documentation,

- reasonably required by the auditor.

- If the audit reveals any non-compliance by the Supplier with its obligations under the Contract, then the costs reasonably and necessarily incurred by the Principal in conducting the audit shall be a debt due and payable by the Supplier. Otherwise, the Principal shall bear the cost of the audit.

PERSONAL PROPERTY SECURITIES

(Definitions) In this clause, PPS Act means the Personal Property Securities Act 2009 (Cth). Terms used in this clause which are defined in the PPS Act have the meanings given in that Act.

(Disclosure) If this Contract contains a security interest, then each Party agrees for the purposes of section 275(6) of the PPS Act that it will not disclose information of the type referred to in section 275(1) of the PPS Act where a request is made under section 275(1) of the PPS Act in relation to this Contract or any part of it, except in circumstances where the Party is compelled by law (other than section 275(1) of the PPS Act) to make that disclosure.

(Supplier’s obligations) If the Principal determines that any clause of this Contract, or a transaction contemplated by this Contract or in connection with the performance of its obligations under this Contract constitutes, or is likely to give rise to a security interest in respect of which the Principal is the security holder, then:

the Supplier must, within the time required by the Principal, provide all assistance and cooperation requested by the Principal that the Principal determines is reasonably required to:

register and maintain the registration of its security interest on the personal property securities register within any applicable time limits relevant to the effectiveness of the security interest;

ensure that the Principal's security interest is enforceable against third parties, perfected or otherwise effective;

ensure that the security interest has the appropriate priority required by the Principal (including where applicable as a purchase money security interest);

ensure that any security interest granted temporary perfection under the PPS Act is perfected by registration or other appropriate means prior to any applicable expiry of that temporary perfection; and

enable the Principal to register financing statements or financing change statements under the PPS Act with respect to any such security interest;

the Supplier waives the right to receive notice of a verification statement in relation to the registration of that security interest;

the Supplier shall not register or permit to be registered any other security interest in respect of the personal property that comprises the collateral in respect of that security interest other than one that has been consented to or granted by the Principal

the Supplier shall not cause or allow any of the Supplier's personal property to become an accession to the Principal's personal property or cause or allow the Principal's personal property to become an Accession to the Supplier's personal property without the prior consent of the Principal, and

the Supplier must immediately notify the Principal if any other person claims or attempts to enforce a security interest:

in the Principal's personal property, or

in the Supplier's personal property to the extent that that purported enforcement affects or has the potential to affect the Supplier's ability to carry out its obligations in accordance with the terms of the Contract.